## 483F-ISAV8-Snow-593R-ISAV8-Snow
GFC-MBU- SOP # GFC-GEN-24 |  |  |  |  | PCR ISAV 483F /593R ,104 ~bp
483F-ISAV8-Snow: 5' CTA CAC AGC AGG ATG CAG ATG T |  |  |  | 593R-ISAV8-Snow: 5' CAG GAT GCC GGA AGT CGAT
555-ISA8-Snow: 5' FAM-CATCGTCGCTGCAGTTC-MGB
DATE (YY-mm-dd): |  | 2011-12-08 |  |  | qPCR prog name: |  | TaqMan-FAM-ANNEXT60-45cycles
Technician: | M. Robichaud-Haché |  | Verified By:C.C. (111209) |  | Real-time machine used: |  | GFC-MBU-224
Enter tubes tot (incl. neg and pos ctrls): |  |  |  |  | Program: | Quantitative PCR (Multiple Standards)
|  |  | 116 |  |  | Hold init. | 45 cycles at |  |  |  | reason for test: | Confirmation
|  | Master MIX | Pipette |  | 50C | 95 C | 95 C, 15s
| x ul | Vol (ul) |  |  | 2 min | 10 min | 60 C, 60s | Fluorescence read at end (read 3 times)
H2O DEPC | 7.6 | 896.8 | GFC-MBU-196
2X Taq Man Universal Enzyme Mix | 12.5 | 1475 | GFC-MBU-108 | [7 empty] | ISAV 483F 593R 2011-12-08 2011-MBU-48.mxp
Primer F (20uM) | 1.125 | 132.75 | GFC-MBU-051
Primer R (20uM) | 1.125 | 132.75 |  |  | 2X Taq Man Universal Enzyme Mix |  |  | 110913 # 8 | opened 111023
Probe (10uM) | 0.625 | 73.75 |  |  | 2X Taq Man Universal Enzyme Mix lot no |  |  | P05993 | exp.31/05/12
cDNA (£125 ng/ul) | 2 |  | GFC-MBU-256 |  | Probe ISA (10 uM) |  |  | 2011-11-09 | 2
total | 24.975 |  |  |  | H2O DEPC |  |  | batch 7
[5 empty] | Primer F stock id: |  |  | A111027 | 111109-1 |  | Base line : | 0.07
[5 empty] | Primer R stock id: |  |  | A111027 | 111109-1
Liquid Handling system | GFC-MBU-212
Plaque: | 11PR024
Plate ID
NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note
1 - A1 | 11:2106 | 2011-MBU-48 | no Ct |  | 25 - A2 | 11:2106 | 2011-MBU-48 | no Ct |  | 49 - A7 | 11:2130 | 2011-MBU-48 | no Ct |  | 73 - A8 | 11:2130 | 2011-MBU-48 | no Ct
2 - B1 | 11:2107 | 2011-MBU-48 | no Ct |  | 26 - B2 | 11:2107 | 2011-MBU-48 | no Ct |  | 50 - B7 | 11:2131 | 2011-MBU-48 | no Ct |  | 74 - B8 | 11:2131 | 2011-MBU-48 | no Ct
3 - C1 | 11:2108 | 2011-MBU-48 | no Ct |  | 27 - C2 | 11:2108 | 2011-MBU-48 | no Ct |  | 51 - C7 | 11:2132 | 2011-MBU-48 | no Ct |  | 75 - C8 | 11:2132 | 2011-MBU-48 | no Ct
4 - D1 | 11:2109 | 2011-MBU-48 | no Ct |  | 28 - D2 | 11:2109 | 2011-MBU-48 | no Ct |  | 52 - D7 | 11:2133 | 2011-MBU-48 | no Ct |  | 76 - D8 | 11:2133 | 2011-MBU-48 | no Ct
5 - E1 | 11:2110 | 2011-MBU-48 | no Ct |  | 29 - E2 | 11:2110 | 2011-MBU-48 | no Ct |  | 53 - E7 | 11:2134 | 2011-MBU-48 | no Ct |  | 77 - E8 | 11:2134 | 2011-MBU-48 | no Ct
6 - F1 | 11:2111 | 2011-MBU-48 | no Ct |  | 30 - F2 | 11:2111 | 2011-MBU-48 | no Ct |  | 54 - F7 | 11:2135 | 2011-MBU-48 | no Ct |  | 78 - F8 | 11:2135 | 2011-MBU-48 | no Ct
7 - G1 | 11:2112 | 2011-MBU-48 | no Ct |  | 31 - G2 | 11:2112 | 2011-MBU-48 | no Ct |  | 55 - G7 | 11:2136 | 2011-MBU-48 | no Ct |  | 79 - G8 | 11:2136 | 2011-MBU-48 | no Ct
8 - H1 | 11:2113 | 2011-MBU-48 | no Ct |  | 32 - H2 | 11:2113 | 2011-MBU-48 | no Ct |  | 56 - H7 | 11:2137 | 2011-MBU-48 | no Ct |  | 80 - H8 | 11:2137 | 2011-MBU-48 | no Ct
9 - A3 | 11:2114 | 2011-MBU-48 | no Ct |  | 33 - A4 | 11:2114 | 2011-MBU-48 | no Ct |  | 57 - A9 | 11:2138 | 2011-MBU-48 | no Ct |  | 81 - A10 | 11:2138 | 2011-MBU-48 | no Ct
10 - B3 | 11:2115 | 2011-MBU-48 | no Ct |  | 34 - B4 | 11:2115 | 2011-MBU-48 | no Ct |  | 58 - B9 | 11:2139 | 2011-MBU-48 | no Ct |  | 82 - B10 | 11:2139 | 2011-MBU-48 | no Ct
11 - C3 | 11:2116 | 2011-MBU-48 | no Ct |  | 35 - C4 | 11:2116 | 2011-MBU-48 | no Ct |  | 59 - C9 | 11:2140 | 2011-MBU-48 | no Ct |  | 83 - C10 | 11:2140 | 2011-MBU-48 | no Ct
12 - D3 | 11:2117 | 2011-MBU-48 | no Ct |  | 36 - D4 | 11:2117 | 2011-MBU-48 | no Ct |  | 60 - D9 | 11:2141 | 2011-MBU-48 | no Ct |  | 84 - D10 | 11:2141 | 2011-MBU-48 | no Ct
13 - E3 | 11:2118 | 2011-MBU-48 | no Ct |  | 37 - E4 | 11:2118 | 2011-MBU-48 | no Ct |  | 61 - E9 | 11:2142 | 2011-MBU-48 | no Ct |  | 85 - E10 | 11:2142 | 2011-MBU-48 | no Ct
14 - F3 | 11:2119 | 2011-MBU-48 | no Ct |  | 38 - F4 | 11:2119 | 2011-MBU-48 | no Ct |  | 62 - F9 | 11:2143 | 2011-MBU-48 | no Ct |  | 86 - F10 | 11:2143 | 2011-MBU-48 | no Ct
15 - G3 | 11:2120 | 2011-MBU-48 | no Ct |  | 39 - G4 | 11:2120 | 2011-MBU-48 | no Ct |  | 63 - G9 | 11:2144 | 2011-MBU-48 | no Ct |  | 87 - G10 | 11:2144 | 2011-MBU-48 | no Ct
16 - H3 | 11:2121 | 2011-MBU-48 | no Ct |  | 40 - H4 | 11:2121 | 2011-MBU-48 | no Ct |  | 64 - H9 | 11:2145 | 2011-MBU-48 | no Ct |  | 88 - H10 | 11:2145 | 2011-MBU-48 | no Ct
17 - A5 | 11:2122 | 2011-MBU-48 | no Ct |  | 41 - A6 | 11:2122 | 2011-MBU-48 | no Ct |  | 65 - A11 | 11:2146 | 2011-MBU-48 | no Ct |  | 89 - A12 | 11:2146 | 2011-MBU-48 | no Ct
18 - B5 | 11:2123 | 2011-MBU-48 | no Ct |  | 42 - B6 | 11:2123 | 2011-MBU-48 | no Ct |  | 66 - B11 | 11:2147 | 2011-MBU-48 | no Ct |  | 90 - B12 | 11:2147 | 2011-MBU-48 | no Ct
19 - C5 | 11:2124 | 2011-MBU-48 | no Ct |  | 43 - C6 | 11:2124 | 2011-MBU-48 | no Ct |  | 67 - C11 | 11:888 B | ctr + qPCR | 34.54 | RT7 10-7 111206 | 91 - C12 | 11:888 B | ctr + qPCR | 33.59 | RT7 10-7 111206
20 - D5 | 11:2125 | 2011-MBU-48 | no Ct |  | 44 - D6 | 11:2125 | 2011-MBU-48 | no Ct |  | 68 - D11 | 11:888 B | ctr + qPCR | 26.04 | RT7 10-5 111206 | 92 - D12 | 11:888 B | ctr + qPCR | 26.38 | RT7 10-5 111206
21 - E5 | 11:2126 | 2011-MBU-48 | no Ct |  | 45 - E6 | 11:2126 | 2011-MBU-48 | no Ct |  | 69 - E11 | H2O | Ctr- | No Ct |  | 93 - E12 | H2O | Ctr- | No Ct
22 - F5 | 11:2127 | 2011-MBU-48 | no Ct |  | 46 - F6 | 11:2127 | 2011-MBU-48 | no Ct |  | 70 - F11 | 11:888 C | ctr + qPCR | 33.63 | RT2 10-7 111104 | 94 - F12 | 11:888 C | ctr + qPCR | 33.1 | RT2 10-7 111104
23 - G5 | 11:2128 | 2011-MBU-48 | no Ct |  | 47 - G6 | 11:2128 | 2011-MBU-48 | no Ct |  | 71 - G11 | 11:888 C | ctr + qPCR | 24.34 | RT2 10-5 111104 | 95 - G12 | 11:888 C | ctr + qPCR | 24.11 | RT2 10-5 111104
24 - H5 | 11:2129 | 2011-MBU-48 | no Ct |  | 48 - H6 | 11:2129 | 2011-MBU-48 | no Ct |  | 72 - H11 | H2O | ctr - | No Ct |  | 96 - H12 | H2O | ctr - | No Ct
Note on D7: Nellie: Do not move, this is an absolute reference cell. It adds 0,5 from 1 to 10 tubes, 1 from 11 to 40 tubes, 2 over 40 tubes.
Note on F6: Nellie: All programs have Lid set at 103 C, WAIT AUTO. All programs are using the 3 C per s ramping time.
Note on F17: Nellie: Primers are identified by the date they are reconstituted, the stock vial id, and working dilution id.
Note on F18: Nellie: Primer are identified by the stock reconstitution date, stock aliquot id, and working dilution id no.

## Instructions
Read the SOP associated with this protocol.
Instructions: Enter missing infos and save the file under the folder of the PCR test (ex: MSX, VHS, etc), filename is primer and date (ex: 1207-1376 05-12-31).
Primer stock id: Indicate the date of reconstitution, aliquot of stock, and id number of working dilution (usually it is the date).
For primer diluted at 20 uM, if you prepare more than one aliquot of these working dilutions, then they need an extra numbering,
for example in the worksheet:
| primer f: | A-050826 050901#1
this would mean aliquot A of stock reconstituted aug 26, and aliquot #1 of working dilution done on Sep 1 2005.
Probe stock id: Indicate the date of reconstitution, aliquot of stock, and id number of working dilution (usually it is the date).
For probe diluted at 10 uM, only prepare one aliquot at a time in a black tube to preserve the fluorophore from the light and identify the tube like this
for example in the worksheet:
| Probe X | A-050826 050901#1
this would mean aliquot A of stock reconstituted aug 26, and aliquot #1 of working dilution done on Sep 1 2005.
Also keep the master mix away from the light while preperation and aliquoting it in the plate or tubes.

## Version History
Version no. | Modifications | Date yyyy/mm/dd | Modified By
version 1.01 | The page was created | 2011/10/26 | CC

## Test History
Version no. | Modifications | Date (program name) yyyy/mm/dd | Modified By