## B-tubuline 166F 434R
GFC-MBU- SOP # MBU-xx-000-00 | [5 empty] | PCR B-tubuline 166F / 434R, 268 bp
166F: 5' ggm gcc aag ttc tgg gag gt |  |  |  | 434R: 5' tag tgg ccc ttg gcc cag
DATE (YY-mm-dd): |  | 2011-12-08 |  |  | PCR prog name: |  | SYBR-FAM-ANN60-40cycles-no duplicats
Technician: | M. Robichaud-Haché |  | Verified By: |  | qPCR machine used: |  | GFC-MBU-017 |  |  |  | reason for testing: | QA-QC testing
|  |  | 58 |  | Program: | SYBR Green (with Dissociation Curve)
|  | Master MIX | Pipette |  |  | Hold init. | 40 cycles at | 1 cycle at
| x ul | Vol (ul) |  |  |  | 95 C | 95 C, 30s | 95 C, 60s
sterile H2O | 9.3 | 558 | GFC-MBU-196 |  |  | 10 min | 60 C, 30s | 55 C, 30s |  |  | B-tub 166F 434R 11-12-08.2 2011-261 .mxp
Power SYBR Green PCR Master Mix | 12.5 | 750 |  |  |  |  | 72 C, 30s | 95 C 30s
Primer F (20uM) | 0.6 | 36 | GFC-MBU-051
Primer R (20 uM) | 0.6 | 36 | [8 empty] | baseline: | 0.024
cDNA (£25 ng/ul) | 2 |  |  |  | Power SYBR Green PCR Master Mix |  |  | 1103270 2/10 | open 111206
total | 25 |  | GFC-MBU-256 |  | Power SYBR Green PCR Master Mix lot no |  |  | rec 2011-04-05 | exp 2012-02-27
[5 empty] | H2O DEPC |  |  | batch 7 | exp 2012-10-18
[5 empty] | Primer F stock id: |  |  | C100629 | 111208-1
Liquid handling system | GFC-MBU-212 |  |  |  | Primer R stock id: |  |  | A110615 | 110615-3
Plaque: | 11PR023
Will need to redo a qPCR for samples 11:2100 to 11:2105, forgot to add these wells on the plate.
Will add samples 11:2081 in the re-run of the samples.
Plate ID
NO | PCR no | case no, ctrl pos or H20 | Result | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note
1 - A1 | 11:2058 | 2011-261 | 20.73 |  | 25 - A4 | 11:2082 | 2011-261 | 20.2 |  | 49 - A7 |  |  |  |  | 73 - A10
2 - B1 | 11:2059 | 2011-261 | 18.74 |  | 26 - B4 | 11:2083 | 2011-261 | 19.83 |  | 50 - B7 |  |  |  |  | 74 - B10
3 - C1 | 11:2060 | 2011-261 | 20.38 |  | 27 - C4 | 11:2084 | 2011-261 | 20.51 |  | 51 - C7 |  |  |  |  | 75 - C10
4 - D1 | 11:2061 | 2011-261 | 20.31 |  | 28 - D4 | 11:2085 | 2011-261 | 20.49 |  | 52 - D7 |  |  |  |  | 76 - D10
5 - E1 | 11:2062 | blanc | No Ct |  | 29 - E4 | 11:2086 | 2011-261 | 18.57 |  | 53 - E7 |  |  |  |  | 77 - E10
6 - F1 | 11:2063 | 2011-261 | 20.48 |  | 30 - F4 | 11:2087 | 2011-261 | 18.99 |  | 54 - F7 |  |  |  |  | 78 - F10
7 - G1 | 11:2064 | blanc | No Ct |  | 31 - G4 | 11:2088 | 2011-261 | 17.91 |  | 55 - G7 |  |  |  |  | 79 - G10
8 - H1 | 11:2065 | 2011-261 | 19.76 |  | 32 - H4 | 11:2089 | 2011-261 | 18.94 |  | 56 - H7 |  |  |  |  | 80 - H10
9 - A2 | 11:2066 | 2011-261 | 18.99 |  | 33 - A5 | 11:2090 | 2011-261 | 20.45 |  | 57 - A8 |  |  |  |  | 81 - A11
10 - B2 | 11:2067 | 2011-261 | 19.33 |  | 34 - B5 | 11:2091 | 2011-261 | 19.33 |  | 58 - B8 |  |  |  |  | 82 - B11
11 - C2 | 11:2068 | 2011-261 | 18.99 |  | 35 - C5 | 11:2092 | blanc | No Ct |  | 59 - C8 |  |  |  |  | 83 - C11
12 - D2 | 11:2069 | 2011-261 | 19.41 |  | 36 - D5 | 11:2093 | 2011-261 | 20.16 |  | 60 - D8 |  |  |  |  | 84 - D11
13 - E2 | 11:2070 | 2011-261 | 19.68 |  | 37 - E5 | 11:2094 | 2011-261 | 19.97 |  | 61 - E8 |  |  |  |  | 85 - E11
14 - F2 | 11:2071 | 2011-261 | 20.03 |  | 38 - F5 | 11:2095 | 2011-261 | 20.39 |  | 62 - F8 |  |  |  |  | 86 - F11
15 - G2 | 11:2072 | 2011-261 | 18.94 |  | 39 - G5 | 11:2096 | 2011-261 | 19.5 |  | 63 - G8 |  |  |  |  | 87 - G11
16 - H2 | 11:2073 | 2011-261 | 21.27 |  | 40 - H5 | 11:2097 | 2011-261 | 19.44 |  | 64 - H8 |  |  |  |  | 88 - H11
17 - A3 | 11:2074 | 2011-261 | 20.81 |  | 41 - A6 | 11:2098 | 2011-261 | 19.22 |  | 65 - A9 |  |  |  |  | 89 - A12
18 - B3 | 11:2075 | 2011-261 | 19.45 |  | 42 - B6 | 11:2099 | 2011-261 | 17.43 |  | 66 - B9 |  |  |  |  | 90 - B12
19 - C3 | 11:2076 | 2011-261 | 20.91 |  | 43 - C6 | 11:1615 | Ctr + | 17.51 |  | 67 - C9 |  |  |  |  | 91 - C12
20 - D3 | 11:2077 | 2011-261 | 17.53 |  | 44 - D6 | H2O | Ctr - | No Ct |  | 68 - D9 |  |  |  |  | 92 - D12
21 - E3 | 11:2078 | 2011-261 | 18.47 |  | 45 - E6 |  |  |  |  | 69 - E9 |  |  |  |  | 93 - E12
22 - F3 | 11:2079 | 2011-261 | 20 |  | 46 - F6 |  |  |  |  | 70 - F9 |  |  |  |  | 94 - F12
23 - G3 | 11:2080 | 2011-261 | 20.32 |  | 47 - G6 |  |  |  |  | 71 - G9 |  |  |  |  | 95 - G12
24 - H3 | 11:2081 | 2011-261 | No Ct |  | 48 - H6 |  |  |  |  | 72 - H9 |  |  |  |  | 96 - H12
Note on D6: Nellie: Do not move, this is an absolute reference cell. It adds 0,5 from 1 to 10 tubes, 1 from 11 to 40 tubes, 2 over 40 tubes.
Note on F16: Nellie: Primers are identified by the date they are reconstituted, the stock vial id, and working dilution id.
Note on F17: Nellie: Primer are identified by the stock reconstitution date, stock aliquot id, and working dilution id no.
Note on H10: Mélanie Robichaud-Haché: Fluorescence read at this point (read 3 times)
Note on I9: Mélanie Robichaud-Haché: Fluorescence read at the end

## Instructions
Read the SOP associated with this protocol.
Instructions: Enter missing infos and save the file under the folder of the PCR test (ex: MSX, VHS, etc), filename is primer and date (ex: 1207-1376 05-12-31).
Primer stock id: Indicate the date of reconstitution, aliquot of stock, and id number of working dilution (usually it is the date).
For primer diluted at 20 uM, if you prepare more than one aliquot of these working dilutions, then they need an extra numbering,
for example in the worksheet:
| primer f: | A-050826 050901#1
this would mean aliquot A of stock reconstituted aug 26, and aliquot #1 of working dilution done on Sep 1 2005.

## Version History
Version no. | Modifications | Date yy/mm/dd | Modified By
v.1.02 | Verified by, version no. in header, version history tab | 2008/01/14 | MRH
version 1.03 | 35 cycles instead of 40 cycles | 2008/05/02 | JA
version 1.04 | Changed program name and verified in thermocyclers | 2008/05/07 | JA
version 1.05 | Changed the numbering of the samples, added the box for liquid handling system; added water dMPC in the box | 2009-11-06 | MRH
version 1.06 | The test name tab, version history and test history tabs placed in yellow. The PCR program name was changed to SYBR-FAM-ANN60-40cycles, fluorescence was taken 3 times instead of once. The primer concentration was added and the cDNA concentration changed from 50 ng/ul to 125 ng/ul. | 2009-12-03 | MRH
version 1.07 | The PCR program name was changed to SYBR-FAM-ANN60-40cycles-no duplicats. | 2009-12-10 | MRH
version 1.08 | cDNA concentration changed to (£125 ng/ul) instead of 125ng (typo). | 2009-12-11 | MRH
version 1.09 | Changed qPCR machine used number to GFC-MBU- | 2010-02-16 | JA
version 1.10 | Changed equipment numbers to GFC-MBU-xxx | 2010-02-17 | JA
version 1.11 | Changed SOP number to GFC-MBU-xxx | 2010-03-10 | MRH
version 1.12 | Change quantity of cDNA from 125ng/ul to 25ng/ul, following re-examination of original calculations | 2010-10-28 | ML
version 1.13 | Changed dMPC water to DEPC. | 2011-09-13 | MRH

## Test history
Version no. | Modifications | Date yy/mm/dd | Modified By
1.04 | Added 1.5 ul of BSA 10% to PCR mix and added previous results colum | 15/7/2009 | CC
1.04 | Added 1.0 ul of 1% BSA to PCR mix | 21/7/2009 | CC