## ISAV 404F RA3
GFC-MBU- SOP # MBU-xx-000-00 |  |  |  | PCR ISAV 404F / RA3, 179 bp
404F: 5' tgg gca atg gtg tat ggt atg a |  |  |  | RA3 (583R): 5' gaa gtc gat gaa ctg cag cga
491_ISA8-FamMGB | (6-Fam) cag gat gca gat gta tgc-MGB
DATE (YY-mm-dd): |  | 2011-12-05 |  |  | PcR prog name: |  | TaqMan-FAM-ANN60-40cycles
Technician: | M. Robichaud-Haché |  | Verified By:C.C. (111209) |  | PcR machine used: |  | GFC-MBU-175
Enter tubes tot (incl. neg and pos ctrls): |  |  |  |  | Program: | Quantitative PCR (Multiple Standards)
|  |  | 150 |  |  | Hold init. | 40 cycles at
|  | Master MIX | Pipette |  |  | 50 C | 95 C, 30s |  |  |  | Reason for testing: | Confirmation
| x ul | Vol (ul) |  |  |  | 2 min | 60 C, 30s
sterile H2O | 8.8 | 1337.6 | GFC-MBU-196 |  |  | 95 C | 72 C, 30s | Fluorescence read at end (read 3 times)
2X Taq Man Universal Enzyme Mix | 12.5 | 1900 | GFC-MBU-108 |  |  | 10 min |  |  |  |  | ISAV 404F RA3 2011-12-05 2011-261 11PR022.mxp
Primer F (20uM) | 0.6 | 91.2 | GFC-MBU-051
Primer R (20uM) | 0.6 | 91.2 |  |  | 2X Taq Man Universal Enzyme Mix |  |  | 110913 # 6 | opened 111023
Probe (10uM) | 0.5 | 76 | GFC-MBU-188 |  | 2X Taq Man Universal Enzyme Mix lot no |  |  | P05993 | exp.31/05/12
cDNA (£25 ng/ul) | 2 |  | GFC-MBU-256 |  | Probe ISAV (10 uM) |  |  | 2011-11-03 | 10
total | 25 |  |  |  | H2O DEPC |  |  | batch 6 | exp 2011-12-08
[5 empty] | Primer F stock id: |  |  | A111102: B111102 | 111102-2; 111205-1 |  | baseline: | 0.064
Corbett Robotics | GFC-MBU-212 | Mix prepared for 2 plates at the same time |  |  | Primer R stock id: |  |  | B110725:A111102 | 1114025-1; 111102-1
Plaque: | 11PR022 | 2011-12-05 et 2011-12-05.2
Plate ID
NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note | NO | PCR no | case no, ctrl pos or H20 | Result (Ct) | Note
1 - A1 | 11:2010 | 2011-261 | no Ct |  | 25 - A4 | 11:2034 | 2011-261 | no Ct |  | 49 - A7 |  |  |  |  | 73 - A10
2 - B1 | 11:2011 | 2011-261 | no Ct |  | 26 - B4 | 11:2035 | 2011-261 | no Ct |  | 50 - B7 |  |  |  |  | 74 - B10
3 - C1 | 11:2012 | 2011-261 | no Ct |  | 27 - C4 | 11:2036 | 2011-261 | no Ct |  | 51 - C7 |  |  |  |  | 75 - C10
4 - D1 | 11:2013 | 2011-261 | no Ct |  | 28 - D4 | 11:2037 | 2011-261 | no Ct |  | 52 - D7 |  |  |  |  | 76 - D10
5 - E1 | 11:2014 | 2011-261 | no Ct |  | 29 - E4 | 11:2038 | 2011-261 | no Ct |  | 53 - E7 |  |  |  |  | 77 - E10
6 - F1 | 11:2015 | 2011-261 | no Ct |  | 30 - F4 | 11:2039 | 2011-261 | no Ct |  | 54 - F7 |  |  |  |  | 78 - F10
7 - G1 | 11:2016 | 2011-261 | no Ct |  | 31 - G4 | 11:2040 | 2011-261 | no Ct |  | 55 - G7 |  |  |  |  | 79 - G10
8 - H1 | 11:2017 | 2011-261 | no Ct |  | 32 - H4 | 11:2041 | 2011-261 | no Ct |  | 56 - H7 |  |  |  |  | 80 - H10
9 - A2 | 11:2018 | 2011-261 | no Ct |  | 33 - A5 | 11:2042 | 2011-261 | no Ct |  | 57 - A8 |  |  |  |  | 81 - A11
10 - B2 | 11:2019 | 2011-261 | no Ct |  | 34 - B5 | 11:2043 | 2011-261 | no Ct |  | 58 - B8 |  |  |  |  | 82 - B11
11 - C2 | 11:2020 | 2011-261 | no Ct |  | 35 - C5 | 11:2044 | 2011-261 | no Ct |  | 59 - C8 |  |  |  |  | 83 - C11
12 - D2 | 11:2021 | 2011-261 | no Ct |  | 36 - D5 | 11:2045 | 2011-261 | no Ct |  | 60 - D8 |  |  |  |  | 84 - D11
13 - E2 | 11:2022 | 2011-261 | no Ct |  | 37 - E5 | 11:2046 | 2011-261 | no Ct |  | 61 - E8 |  |  |  |  | 85 - E11
14 - F2 | 11:2023 | 2011-261 | no Ct |  | 38 - F5 | 11:2047 | 2011-261 | no Ct |  | 62 - F8 |  |  |  |  | 86 - F11
15 - G2 | 11:2024 | 2011-261 | no Ct |  | 39 - G5 | 11:2048 | 2011-261 | no Ct |  | 63 - G8 |  |  |  |  | 87 - G11
16 - H2 | 11:2025 | 2011-261 | no Ct |  | 40 - H5 | 11:2049 | 2011-261 | no Ct |  | 64 - H8 |  |  |  |  | 88 - H11
17 - A3 | 11:2026 | 2011-261 | no Ct |  | 41 - A6 | 11:2050 | 2011-261 | no Ct |  | 65 - A9 |  |  |  |  | 89 - A12
18 - B3 | 11:2027 | 2011-261 | no Ct |  | 42 - B6 | 11:2051 | 2011-261 | no Ct |  | 66 - B9 |  |  |  |  | 90 - B12
19 - C3 | 11:2028 | 2011-261 | no Ct |  | 43 - C6 | 11:2052 | 2011-261 | no Ct |  | 67 - C9 |  |  |  |  | 91 - C12 | 11:888 B | ctr + RT | 33.28 | RT5 10-7 111202
20 - D3 | 11:2029 | 2011-261 | no Ct |  | 44 - D6 | 11:2053 | 2011-261 | no Ct |  | 68 - D9 |  |  |  |  | 92 - D12 | 11:888 B | ctr + RT | 27.04 | RT5 10-5 111202
21 - E3 | 11:2030 | 2011-261 | no Ct |  | 45 - E6 | 11:2054 | 2011-261 | no Ct |  | 69 - E9 |  |  |  |  | 93 - E12 | H2O | ctr - | No Ct
22 - F3 | 11:2031 | 2011-261 | no Ct |  | 46 - F6 | 11:2055 | 2011-261 | no Ct |  | 70 - F9 |  |  |  |  | 94 - F12 | 11:888 C | ctr + qPCR | 34.93 | RT2 10-7 111104
23 - G3 | 11:2032 | 2011-261 | no Ct |  | 47 - G6 | 11:2056 | 2011-261 | no Ct |  | 71 - G9 |  |  |  |  | 95 - G12 | 11:888 C | ctr + qPCR | 26.06 | RT2 10-5 111104
24 - H3 | 11:2033 | 2011-261 | no Ct |  | 48 - H6 | 11:2057 | 2011-261 | no Ct |  | 72 - H9 |  |  |  |  | 96 - H12 | H2O | ctr - | No Ct
Note on D7: Nellie: Do not move, this is an absolute reference cell. It adds 0,5 from 1 to 10 tubes, 1 from 11 to 40 tubes, 2 over 40 tubes.
Note on F6: Nellie: All programs have Lid set at 103 C, WAIT AUTO. All programs are using the 3 C per s ramping time.
Note on F17: Nellie: Primers are identified by the date they are reconstituted, the stock vial id, and working dilution id.
Note on F18: Nellie: Primer are identified by the stock reconstitution date, stock aliquot id, and working dilution id no.

## Instructions
Read the SOP associated with this protocol.
Instructions: Enter missing infos and save the file under the folder of the PCR test (ex: MSX, VHS, etc), filename is primer and date (ex: 1207-1376 05-12-31).
Primer stock id: Indicate the date of reconstitution, aliquot of stock, and id number of working dilution (usually it is the date).
For primer diluted at 20 uM, if you prepare more than one aliquot of these working dilutions, then they need an extra numbering,
for example in the worksheet:
| primer f: | A-050826 050901#1
this would mean aliquot A of stock reconstituted aug 26, and aliquot #1 of working dilution done on Sep 1 2005.
Probe stock id: Indicate the date of reconstitution, aliquot of stock, and id number of working dilution (usually it is the date).
For probe diluted at 10 uM, only prepare one aliquot at a time in a black tube to preserve the fluorophore from the light and identify the tube like this
for example in the worksheet:
| Probe X | A-050826 050901#1
this would mean aliquot A of stock reconstituted aug 26, and aliquot #1 of working dilution done on Sep 1 2005.
Also keep the master mix away from the light while preperation and aliquoting it in the plate or tubes.

## Version History
Version no. | Modifications | Date yyyy/mm/dd | Modified By
version 1.01 | This page was created. | 2007-09-17 | MRH
version 1.02 | Changed quantity of cDNA from 500 ng/ul to 50 ng/ul, we were putting 50ng/ul alrealdy, the 500 ng/ul was just a typo. | 2008-02-08 | MRH
version 1.03 | Changed quantity of cDNA from 50 ng/ul to 125 ng/ul, we were putting 125ng/ul alrealdy, the 50 ng/ul was just a typo. | 2008-05-16 | MRH
version 1.04 | Added the box for the plate number (if applicable). | 2008-05-22 | MRH
version 1.05 | Changed program from 45 cycles to 40 cycles | 2008-11-04 | LG
version 1.06 | Added (20uM) besides primers and (10uM) besides probe in calculation box | 2009-08-26 | LG
version 1.07 | version and test history placed in yellow, renamed the protocol | 2009-11-12 | MRH
version 1.08 | Routine testing taken out for reason of testing (need to be kept blank) | 2009-11-13 | MRH
version 1.09 | Program name was changed to FAM-ANN60-40cycles | 2009-11-17 | MRH
version 1.10 | Program name was changed to TaqMan-FAM-ANN60-40cycles and 3 values of fluorescence read instead of just one. | 2009-12-02 | MRH
version 1.11 | MBG was changed to MBU | 2010-03-26 | MR
version 1.12 | Changed order of pipettes | 2010-04-01 | MRH
version 1.13 | Change quantity of cDNA from 125ng/ul to 25ng/ul, following re-examination of original calculations | 2010-10-27 | ML
version 1.14 | Change dMPC to DEPC | 2011-09-13 | MRH

## Test History
Version no. | Modifications | Date (program name) yy/mm/dd | Modified By
| 0.2 uM finale concentration of probe | 07-07-24 | MRH
| 0.1 uM finale concentration of probe | 07-07-24.2 | MRH
| 0.05 uM finale concentration of probe | 07-07-24.3 | MRH
| Changed quantity of DNA to 2 ul instead of 1 ul | 08-01-03 | MRH